# CHEMCIDER

# Advanced Chemistry Platform
Product requirements and technical implementation specification

Document type: Product and technical requirements document

Product: Chemcider Virtual Laboratory and Chemistry Intelligence Platform

Audience: Chemists, university leaders, laboratory managers, software and AI teams, funders, and implementation partners

Version: 1.0 | Date: 2 October 2026

# Executive summary

Chemcider Labs is an integrated digital chemistry workspace that helps chemists plan, execute, interpret, document, teach, and reproduce laboratory work. It serve university students, academic researchers, analytical and quality-control laboratories, industrial chemists, and chemistry educators. The virtual laboratory is one part of the platform; the larger opportunity is to connect molecular structures, spectra, instruments, experimental procedures, safety, data, and human review in one traceable workflow.

The platform assist chemists across the research cycle: define a question; search literature and known compounds; design a safe and feasible experiment; calculate quantities; prepare samples; run or simulate procedures; import real instrument data; interpret results; compare hypotheses; document provenance; and produce reviewable reports. AI accelerate specialist work while deterministic chemistry software, curated sources, instrument metadata, validation rules, and chemist approval preserve trust.

Chemcider do not claim that image recognition, AI spectra interpretation, or computational prediction can by itself establish chemical identity or replace qualified review. Its defensible proposition is evidence-linked chemical reasoning: every proposed structure or interpretation shows the observations, transformations, database sources, model/version, uncertainty, alternative explanations, and checks that support it.

# 1. Product vision and outcomes

Vision: Make advanced chemical knowledge and laboratory capability more accessible, connected, and reproducible, beginning in Nigerian universities and extending to research and industrial laboratories worldwide.

Product definition: A chemistry intelligence and laboratory platform combining virtual experimentation, real laboratory workflows, cheminformatics, spectroscopy, analytical data processing, scientific calculations, safety, collaboration, and AI-assisted reasoning.

## Target outcomes

| User | Outcome |
| --- | --- |
| Student | Practise procedures safely, understand why they work, analyse real or simulated data, and demonstrate competencies. |
| Research chemist | Reduce time spent on routine calculations, spectral triage, data wrangling, literature organization, and report preparation while retaining control of scientific conclusions. |
| Analytical/QC chemist | Improve sample traceability, method execution, review, QC visibility, and transfer of instrument data into interpretable records. |
| Lecturer/lab technologist | Prepare practicals, manage instrument and reagent constraints, assess students, and connect virtual preparation with physical laboratory work. |
| Laboratory manager | Track instruments, calibration, maintenance, consumables, safety events, access, and operational bottlenecks. |
| Institution | Expand practical access, strengthen research and teaching workflows, maintain data governance, and measure laboratory capability. |

## Product principles

Evidence before answer: show the underlying data and reasoning for scientific interpretations.

Chemist remains accountable: AI suggests and checks; a qualified person approves consequential conclusions and actions.

Scientific computation is deterministic and testable: use validated calculation and simulation services for numbers and chemical constraints.

Real and simulated data stay distinguishable: never silently mix them.

Interoperability by design: support open chemistry and instrument data standards, vendor exports, and APIs.

Privacy for unpublished work: private structures, spectra, ELNs, and projects are not used for model training without explicit consent.

Useful under local constraints: work across variable connectivity, limited instrumentation, and heterogeneous institutional capacity.

# 2. Users and principal jobs

## Personas

Undergraduate and postgraduate chemistry students.

Academic researchers and principal investigators.

Organic, inorganic, analytical, physical, medicinal, natural-products, materials, and environmental chemists.

Instrument operators and laboratory technologists.

Quality-control and process chemists.

Chemistry lecturers, safety officers, and laboratory managers.

University and government administrators.

## Jobs the platform should support

Identify a substance from a name, structure, identifier, drawing, formula, or image of a structure.

Convert and validate molecular representations such as SMILES, InChI, molfile, and SDF.

Predict or inspect spectra for a known candidate; process and interpret measured spectra for an unknown.

Import, clean, visualize, annotate, compare, and report real instrument outputs.

Determine plausible structures from combined evidence without hiding ambiguity.

Plan reactions and analytical workflows with constraints, calculations, hazards, and available equipment in view.

Learn and rehearse techniques in a virtual lab; prepare for physical laboratory work.

Maintain an electronic laboratory notebook with raw data, versions, provenance, and review history.

Coordinate samples, reagents, instruments, calibration, maintenance, and quality-control checks.

Share reproducible methods and results with collaborators under controlled permissions.

# 3. Chemistry pain points and product response

| Current challenge | Chemcider response | Boundary or dependency |
| --- | --- | --- |
| Instruments produce incompatible proprietary files and metadata is lost during export. | Instrument adapters, open-format import/export, metadata capture, conversion reports, and preservation of original files. | Vendor formats may require licensed libraries, SDKs, or vendor cooperation. |
| Chemists spend substantial time processing and interpreting spectra. | Interactive signal processing, peak/feature extraction, reference search, candidate ranking, assignments, and evidence-linked AI explanations. | Models must be benchmarked by technique, instrument, sample class, and data quality. |
| Structure elucidation from one spectrum is often underdetermined. | Multimodal constraint engine combines formula, MS, 1D/2D NMR, IR/Raman, UV-Vis, elemental analysis, and reaction context; returns ranked candidates and missing-evidence suggestions. | A ranking is not proof; isomers and mixtures may remain unresolved. |
| Handwritten labels, reaction schemes, and structure images are hard to digitize. | OCR and chemical diagram recognition with atom/bond confidence, editable structure confirmation, and provenance. | Do not infer an identity from an ambiguous low-quality image without human confirmation. |
| Literature and reference data are fragmented, paywalled, or poorly linked to lab records. | Search connectors, DOI/citation capture, local institutional document stores, licensed content adapters, and compound/spectrum links. | Respect copyright, database terms, and institutional subscriptions. |
| Planning experiments is separated from inventory, safety, calculations, and instrument access. | Experiment planner links objective, procedure, calculations, hazards, stock, instruments, schedules, and waste route. | Inventory accuracy depends on local adoption and integrations. |
| Reproducibility is weakened by missing conditions, versions, raw files, or processing history. | Versioned ELN, immutable raw-data references, event history, processing pipelines, sample lineage, and signed review. | Governance policy and retention rules must be set per institution. |
| QC and instrument problems are found late. | Calibration schedules, control charts, method acceptance criteria, drift/fault simulation for training, and alerts. | Not an accredited LIMS/CDS replacement in the initial release. |
| Practical training is limited by equipment cost, access, class size, or safety. | Guided and open virtual experiments plus physical-lab companion workflows and skills assessment. | Virtual results do not replace instrument competence or hands-on certification. |
| AI can be confidently wrong or conceal assumptions. | Tool-grounded answers, structured outputs, source cards, uncertainty, alternatives, reproducibility records, safety limits, evaluations, and user review. | AI is decision support, not an authority for identity, safety, release, or regulatory determinations. |
| Research data is commercially or academically sensitive. | Tenant isolation, project-level ACLs, encryption, private-model routing options, retention controls, and no-training defaults. | Institution must review data residency, contracts, and threat model. |

# 4. Product modules

## 4.1 Chemistry workspace and project hub

Projects, notebooks, samples, compounds, reactions, datasets, methods, instruments, collaborators, and permissions.

Search across names, identifiers, structures, text, experimental conditions, spectra, and project tags.

Research, teaching, analytical, and QC workspaces with configurable templates.

Activity timeline and review queue; retain original uploads and record transformations.

## 4.2 Molecular structure and cheminformatics

Structure editor for 2D drawing, reaction schemes, atom mapping, charges, isotopes, stereochemistry, salts, mixtures, and polymers where supported.

Image-to-structure for diagrams and photographed structures; OCR captures nearby labels and conditions separately from molecular graph recognition.

Structure validation and normalization with explicit, reversible options: valence checks, aromaticity, tautomer handling, salt/solvent stripping, charge, stereochemistry, and canonicalization.

Bidirectional support for SMILES, canonical/isomeric SMILES, InChI/InChIKey, MOL/SDF, and common line notations; retain submitted representation and toolkit/version used to transform it.

Name-to-structure and structure-to-name using named, versioned providers; display source and confidence and permit correction. Do not promise perfect IUPAC naming for every complex substance or mixture.

Formula, exact/average mass, isotope pattern, descriptors, substructure and similarity search, alerts, functional groups, and stereochemical depiction.

Batch structure registration, duplicate checking, reaction and compound registry, and controlled vocabularies.

Reaction search, atom mapping, stoichiometry, yield, conditions, and reaction provenance. Reaction prediction is a later, separately evaluated capability.

## 4.3 Spectroscopy and structure elucidation

Supported data families: 1D and 2D NMR; MS and MS/MS; IR and FTIR; Raman; UV-Vis; fluorescence; EPR/ESR where feasible; X-ray diffraction/crystallography metadata and derived results as a later module; chromatographic traces (GC, LC/HPLC); thermal analysis (DSC/TGA); and electrochemical traces.

Core workbench capabilities:

Import native/vendor exports where licensed, JCAMP-DX, mzML and relevant community/open formats, CSV/TSV, images, and supported instrument exports. Preserve the untouched source file and log parsing warnings.

Capture technique, instrument/vendor/model, acquisition time, operator, sample ID, solvent, temperature, field/frequency, pulse sequence or method, calibration, units, processing steps, and source file hash where available.

Plot large spectra responsively; zoom, baseline correct, smooth with parameters logged, phase/reference, integrate, pick peaks, deconvolve where justified, annotate, overlay, subtract, align, export figures, and compare replicates.

Distinguish raw, processed, predicted, simulated, imported, and AI-derived datasets in both UI and export.

NMR: support proton/carbon and common nuclei, 1D peak tables, multiplets, integrations, coupling patterns, solvent/reference annotations, 2D COSY/HSQC/HMBC/NOESY/TOCSY workflows as data allow, assignment editor, atom-to-signal mapping, and candidate consistency checks.

MS: centroid/profile support where available, isotope-pattern checks, adduct/charge suggestions, accurate-mass formula candidates, fragmentation annotation and MS/MS evidence. Clearly disclose database and collision-energy limitations.

IR/Raman: peak picking and functional-group regions with reference comparisons and warnings against treating bands as unique identifiers.

UV-Vis/fluorescence: wavelength/absorbance or emission processing, blank/baseline handling, Beer–Lambert calculations where assumptions fit, calibration curves, and spectral comparison.

Chromatography: chromatogram processing, retention time/area integration, peak tables, calibration, carryover/blank checks, and links to MS spectra where available.

Candidate generation: use formula, unsaturation, mass error, valence, isotopes, substructure, peak constraints, and predicted/measured spectra to rank candidates. Display supporting and conflicting evidence per candidate and top alternatives.

Forward prediction for spectra from structures with model/tool provenance and predicted-vs-measured comparison. Separate computed estimates from experimental reference spectra.

Human-editable assignments and annotations with author, time, method, confidence, and review status.

Export report-ready figures, peak tables, assignments, machine-readable data, and full analysis provenance.

AI spectra interpretation output contract:

Data quality and preprocessing summary.

Observed features with locations, units, and source-data references.

Interpretation tied to each feature, with evidence and caveats.

Candidate structures ranked with explicit scoring components and alternative candidates.

Contradictions and unexplained peaks.

Additional measurement or experiment that would best discriminate candidates.

Source/model/tool versions and confidence/calibration scope.

Chemist approval and correction controls.

## 4.4 Virtual laboratory and physical-lab companion

2D and 3D modes; accessible desktop-first operation plus simplified mobile preparation, notebook, and results views.

Apparatus, chemicals, samples, instruments, PPE, waste, balances, glassware, heating/cooling, mixing, transfers, dilution, titration, filtration, extraction, chromatography, electrochemistry, and measurement interactions.

Guided, independent, examination, and research modes with configurable hints and assistance.

Deterministic experiment models with versioned scientific rules; random measurement variation only when specified, seeded, and recorded.

Reagent and equipment availability, realistic quantities, order of operations, safety checks, measurement precision, uncertainty, and waste.

Chemistry-first starter set: acid-base titration; solution preparation/dilution; gravimetric analysis; calorimetry; reaction kinetics; equilibrium; electrochemistry; qualitative inorganic analysis; TLC/column chromatography; recrystallization; UV-Vis calibration curve; and introductory synthesis/work-up. Each requires scientist-authored validation and limits of the simulation documented.

Physical companion mode: protocol, checklist, QR/sample identifiers, offline ELN, actual measurement entry or upload, safety briefing, and post-lab analysis. Physical observations never get replaced by simulation values.

Instrument fault and incident scenarios for training only, clearly separated from live operational control.

## 4.5 Experiment design and reaction planning

Experimental question, hypothesis, variables, controls, method, expected measurements, decision criteria, sample size/replicates, risk assessment, waste plan, and stopping conditions.

Reagent calculator, molar equivalents, concentration/dilution, limiting reagent, theoretical yield, solution preparation, uncertainty propagation, and unit-aware calculations.

Condition matrix and design-of-experiments templates for factorial, response-surface, and optimization studies; store factors, levels, randomization, blocks, and analysis plan.

Reaction procedure templates with editable steps, equipment, quantities, hazards, incompatibilities, and local SOP references.

Literature/reaction lookup with citations and license-aware data use; differentiate known precedent, model prediction, and user proposal.

Feasibility checks against local inventory, instrument booking, equipment capacity, and safety requirements.

No autonomous ordering, synthesis execution, or scale-up approval in MVP.

## 4.6 Laboratory operations and quality

Chemical inventory with identifiers, concentration, lot, supplier, expiry/retest date, storage location, quantity, SDS link, hazard classes, and owner.

Sample registry with barcode/QR, parent-child lineage, aliquots, chain of custody, storage, and destruction record.

Instrument registry, access, operator training status, maintenance, calibration, service records, and instrument qualification attachments.

Calibration standards, blanks, controls, system suitability, method acceptance criteria, control charts, out-of-specification workflow, deviation/CAPA records, and review signatures.

Reagent reservations, stock thresholds, instrument booking, practical scheduling, maintenance downtime, and utilization analytics.

Import/export APIs and integrations with institutional identity, LMS, storage, email, and later LIMS/ELN/CDS systems.

Position as a research and teaching ELN/workflow layer initially; avoid claims of full regulated LIMS/CDS compliance until validated and audited.

## 4.7 Electronic laboratory notebook and scientific records

Structured entries: objective, date/time, people, sample, materials/lots, method/version, risk assessment, procedure, deviations, raw observations, raw files, calculations, processed data, figures, results, discussion, conclusion, references, and next steps.

Timestamped versions, autosave, offline queue, immutable raw file references, corrections by append-only amendment, signatures/reviewer workflow, and exportable audit trail.

Link each result to source: student/operator entry, instrument file, simulation, deterministic calculation, literature/reference, or AI analysis.

Templates for research, analytical method development, practical teaching, synthesis, QC, field/environmental sampling, and instrument runs.

Data import with duplicate detection and configurable retention. User controls project visibility and export.

## 4.8 AI chemistry copilot

Specialized, permission-limited tools rather than one unrestricted agent:

Structure assistant: interpret diagrams, validate structures, explain identifiers and descriptors.

Spectra assistant: summarize observed evidence, explain assignments, rank candidates, surface contradictions, recommend confirmatory data.

Experiment planner: convert a question into draft methods and required controls, materials, calculations, hazards, and acceptance criteria.

Lab assistant: answer using current experiment state, approved SOPs, inventory, and instrument context.

Calculation assistant: invoke tested calculation services and show inputs, units, equations, rounding, and assumptions.

Data analyst: clean, visualize, statistically summarize, compare conditions, and generate reproducible code or analysis steps.

Literature assistant: search licensed/open sources, retrieve passages, quote sparingly, provide DOI/source metadata, and distinguish evidence from inference.

Safety assistant: retrieve SDS/SOP/institution-approved guidance, identify hazards and incompatibilities, and direct users to local emergency procedures. It cannot authorize risky actions.

Teaching/exam tools: hints, tutor, practical examiner, viva, competency assessor with rubric evidence.

All tools have role/project permissions, schemas, audit records, budgets, and explicit allowed operations. Prompts and outputs are versioned; sensitive data defaults to no model training. AI-generated content is draft until reviewed. AI must not fabricate observations, references, spectra, measurements, reagent availability, or certainty.

## 4.9 Learning and university administration

Institutions, faculties, departments, programmes, courses, cohorts, students, lecturers, technicians, experiments, assessments, and curriculum mapping.

Lecturer builder for experiments, rubrics, practical exams, assignment windows, permitted assistance, and expected competencies.

Student competency evidence from observed actions, safety, measurements, reports, viva, repeat attempts, and practical reviews.

Lecturer analytics for completion, misconceptions, safety events, technique performance, and intervention—not opaque AI-only grades.

Competency transcript with evidence and context; institution-controlled verification and export.

LMS integration via LTI 1.3 where feasible; CSV roster import and institutional SSO options.

# 5. Image and structure interpretation requirements

Images can represent very different things: a clean chemical diagram, a handwritten structure, a label, an instrument screen, a spectrum plot, a reaction scheme, or a photograph of a sample. The system must first classify the image task and ask for confirmation where ambiguity remains.

For structure images: detect atoms, bonds, charges, wedges/dashes, ring closures, labels, and abbreviations; create an editable structure; score confidence per region/bond; flag uncertain stereochemistry; show the original crop beside the parsed graph; and require user confirmation before registry, naming, safety lookup, or downstream predictions. For spectrum images, digitization is approximate and must be labeled; invite upload of raw/native data for analysis. For bottle/sample images, OCR extracts label text but cannot verify substance identity or purity.

# 6. Scientific integrity and trust model

The platform maintains three separate authorities:

Experimental/scientific record: raw observations, instrument files, simulation engine, and validated calculation services.

Human scientific judgment: reviewed assignments, conclusions, deviations, and approvals.

AI interpretation: suggestions, summaries, classifications, and candidate rankings tied to evidence.

AI output never overwrites raw data or becomes the canonical result without a named human action. Every calculated value records inputs, units, method, significant-figure policy, software version, and uncertainty where applicable. Every spectrum transformation is reproducible from the original file and recorded parameters. Candidate identity must be represented as a hypothesis until supported by appropriate evidence and review.

# 7. Data model and provenance

Core entities include:

Tenant, institution, project, user, role, membership, course, and permission.

Compound, structure version, identifier, stereochemistry, salt/form, reaction, reagent, and reference.

Sample, aliquot, batch, lot, storage location, custody event, and waste record.

Experiment/protocol/method and version, run/session, condition, step, event, observation, deviation, and outcome.

Instrument, configuration, calibration, maintenance, acquisition, raw file, processed file, processing pipeline, spectrum, peak/feature, assignment, and candidate.

Notebook, entry, attachment, calculation, dataset, graph, analysis, citation, review, signature, and audit event.

AI request, model/provider, prompt version, retrieved evidence, tool call, structured result, evaluation, and user correction.

Provenance minimum for an analytical result: tenant/project; sample and lineage; operator; instrument/method/configuration; acquisition date/time and conditions; original file/hash; parser/tool/version; processing steps/parameters; units; calibration/control status; calculation version; AI involvement; reviewer; and result status. Support FAIR-oriented metadata and export without forcing public release.

# 8. Interoperability and standards

Chemical identifiers and exchange: SMILES variants, IUPAC InChI/InChIKey, MOL/SDF, and reaction formats supported by selected cheminformatics libraries.

Spectral interchange: JCAMP-DX where supported; mzML for mass spectrometry; plain tabular imports with schema mapping; preserve native instrument files and metadata.

Spectral metadata should capture technique-specific acquisition conditions and reference/processing context.

Research metadata should support FAIR principles; cite external datasets and retain terms/licensing.

APIs: versioned REST/OpenAPI initially; webhooks for asynchronous processing; later GraphQL only if client use cases warrant it.

Vendor integration strategy: prioritize vendor-neutral exports and partner with instrument vendors for proprietary formats rather than reverse engineering without rights.

# 9. Architecture recommendation

Use a TypeScript-first monorepo for product services and a Python cheminformatics/scientific-computing service where mature scientific libraries require it. Avoid forcing all scientific tools into TypeScript solely for uniformity.

| Layer | Recommended approach |
| --- | --- |
| Web app | Next.js App Router, React, TypeScript strict mode, responsive desktop-first scientific workbench. |
| UI and visualization | Accessible design system; 2D interactive charts for spectral work; Plotly/D3 where appropriate; Three.js/React Three Fiber for virtual lab scenes where they improve learning. |
| Molecular informatics | RDKit service for parsing, validation, descriptors, fingerprints, depictions, substructure, and supported transformations; isolate/version toolkit behavior. |
| Scientific services | Python workers/services for NumPy/SciPy, RDKit and specialized signal/statistical routines; TypeScript contracts and OpenAPI schemas. |
| API and validation | Route handlers/API service, Zod at TypeScript edges, Pydantic or equivalent in Python, explicit schemas and versioned contracts. |
| Database | PostgreSQL for relational records, JSON metadata, text search, and pgvector where needed; enforce tenant scope in service and database policy. |
| ORM | Prisma for core TypeScript application records; parameterized SQL for analytical workloads; scientific time-series/large arrays stored in object storage, not giant relational rows. |
| Queue/cache | Redis with BullMQ for job coordination, rate limits, and short-lived cache; S3-compatible object storage for raw and processed files. |
| AI | Vercel AI SDK or equivalent provider-agnostic orchestration; task router; structured outputs; tool calling; explicit model/version registry and fallbacks. |
| Search/RAG | PostgreSQL full-text initially, pgvector for curated sources where justified; retrieval citations and license filters; dedicated search later if scale demands. |
| Auth/access | Auth.js or institutional identity integration; RBAC + project/course ABAC; centralized policy checks and audit. |
| Observability | OpenTelemetry traces, structured logs, Sentry, AI cost/quality tracing; redact secrets and sensitive data. |
| Deployment | Dockerized web/worker services; AWS or institution-approved cloud; managed PostgreSQL, object storage, backups, secrets manager, CDN; start with simple managed deployment. |
| CI/CD | GitHub Actions; lint, type check, scientific unit tests, integration tests, migration checks, security scanning, build and staged deployment. |

## Suggested repository layout

chemcider-platform/
  apps/web/                 # Next.js application
  apps/admin/               # Optional separate institutional admin surface
  services/chemistry/       # Python chemistry and cheminformatics API
  services/spectra/         # Parsers, processing and analysis workers
  services/simulation/      # Deterministic experiment models
  services/workers/         # Queued jobs and document generation
  packages/ui/
  packages/contracts/       # Shared schemas and API types
  packages/database/        # Prisma schema and migrations
  packages/ai/              # Provider router, tools, policy and evaluation
  packages/science/         # Unit-aware deterministic calculations
  packages/authz/           # Centralized policy checks
  docs/                     # Architecture, methods, safety, API, validation

# 10. Security, privacy, and governance

Tenant and project-level access checks on every query, job, file URL, AI context, and export.

Encryption in transit and at rest; managed secrets; short-lived signed file URLs; MFA for privileged users; secure session and account recovery.

Role and attribute-based permissions; least privilege for AI tools and background workers.

No training on customer data by default; separate explicit consent, retention, deletion, and private deployment options.

Data residency and backups configurable for institutional procurement; define recovery point/time objectives before production commitments.

Audit login, access changes, data export, method publication, notebook amendment, AI use, approvals, and administrative action.

Redact personally identifiable information and confidential chemical structures from telemetry unless essential and approved.

Threat model file upload/parser attacks, malicious documents/prompt injection, tenant leakage, signed URL exposure, compromised credentials, data exfiltration, and unsafe AI advice.

Define retention and ownership with institutions; support export in usable formats and deletion consistent with legal and research-retention duties.

Nigerian deployment must undergo institutional privacy/security review, including applicable data protection obligations and data processor contracts, before production onboarding.

# 11. Safety and responsible use

Chemical hazard data should come from current, traceable SDS/reference sources and be displayed with source/date; local SOPs and emergency contacts take precedence.

Hazard checks include GHS classification, incompatible storage/reaction pairs, concentration, scale, temperature, pressure, ventilation, PPE, ignition, waste, and exposure routes as data permit.

Any recommended procedure includes hazards, controls, waste and scale assumptions, missing safety data, and review status.

AI must not authorize work, provide false reassurance, or autonomously execute real-world lab actions.

Provide safe simulation examples and escalation to local safety officer/SDS for uncertain or high-risk cases.

Restrict or route sensitive chemical synthesis requests through policy and institutional review; do not provide automated scale-up or procurement actions in MVP.

# 12. Reliability, performance, and scale requirements

These are test targets for defined workloads, not guarantees:

| Measure | Initial target |
| --- | --- |
| Standard workspace page load | p75 under 2.5 seconds on agreed test network/device |
| CRUD API latency | p95 under 400 ms excluding external providers and large files |
| Local spectrum zoom/pan | responsive interaction under 100 ms for supported dataset sizes |
| Scientific calculation | under 500 ms for routine operations |
| AI time to first token | under 3 seconds where provider/network permits; show progress and cancellation |
| Availability | 99.5% MVP target; raise after operational evidence and support coverage |
| Upload recovery | resumable/retryable for large supported data files |
| Offline | notebook drafts and selected protocols usable offline with conflict-safe sync |
| Scale | pilot at 1–3 institutions; architecture supports horizontal worker scaling and expansion to 10,000+ accounts without fundamental redesign |

Large spectral arrays and microscopy/image files require streaming, chunking, downsampling for visualization, and original-data preservation. Benchmarks must disclose dataset size, device/network, and concurrency.

# 13. Testing and scientific validation

Unit tests for calculations, unit conversion, structure parsing, spectra transformations, simulation rules, permissions, and provenance serialization.

Golden test fixtures for supported file formats from multiple instruments, with known parser outputs and corrupted-file cases.

Reference tests against peer-reviewed/calibration datasets and expert-reviewed spectra; version benchmark sets and document limitations.

Chemical validation: atom valence/stereo, mass/formula consistency, expected peak ranges, calibration accuracy, known reaction stoichiometry, uncertainty propagation, and reproducibility with fixed seeds.

Integration tests across upload → parse → process → AI tool → review → export; enforce raw data immutability and tenant isolation.

Human evaluation by practicing chemists for spectra, procedure quality, safety, and candidate usefulness, stratified by specialty and data quality.

AI benchmark includes ambiguous spectra, mixtures, out-of-distribution data, missing metadata, noisy data, conflicting modalities, unsafe requests, and adversarial/prompt-injection files.

E2E tests for student, lecturer, researcher, instrument operator, reviewer, and tenant admin workflows.

Regression tests for every scientific bug; publish model and parser changes with version, benchmark deltas, and rollback path.

# 14. MVP and roadmap

The proposed scope is ambitious; deliver in evidence-building releases. Durations assume a focused multidisciplinary team and must be recalibrated after discovery and file-format access checks.

## Phase 0 — Discovery and scientific foundation (4–6 weeks)

Interview chemists across Nigerian universities, instrument labs, industrial QC, and research groups.

Select pilot sites, specialties, instruments, and representative real files.

Confirm data rights, vendor export access, privacy, hosting, and safety governance.

Establish design partners, scientific advisory group, test datasets, product vocabulary, and threat model.

Build tenancy/auth, project records, raw-file storage, provenance schema, molecular structure service, and deterministic calculations.

## Phase 1 — Chemistry workspace and real-data foundation (10–14 weeks)

Project hub, structure editor and identifier conversion, compounds/reactions, ELN, uploads, sample registry, calculations, citations, access controls, audit, and first instrument/file adapters.

Spectrum viewer and manual peak annotation for UV-Vis, IR, 1D NMR and MS tabular/open exports, prioritizing pilot hardware/data.

AI copilot limited to grounded summaries, explanation and document search; no autonomous identity claim.

## Phase 2 — Spectra analysis and interpretation (12–18 weeks)

Processing workflows, peak tables, assignment interface, mass/formula checks, candidate ranking and explainability, multimodal evidence, reference sources, human review and export.

Forward predictions and image-to-structure as clearly labeled assisted features, tested against human-confirmed examples.

Add additional formats and instrument integrations from pilot demand.

## Phase 3 — Virtual and physical laboratory workflows (12–20 weeks)

8–12 scientist-validated chemistry experiments, interactive apparatus, deterministic state/event system, safety checks, guided/independent/examination modes, offline ELN and physical-lab companion.

Institution/course/assessment workflows and LMS integration pilot.

## Phase 4 — Laboratory operations and advanced methods (ongoing)

Calibration/maintenance/inventory, chromatography and method development, QC dashboards, more NMR/2D workflows, fluorescence/Raman, sample logistics, collaborator review, and selected LIMS/CDS integrations.

## Phase 5 — Advanced computational chemistry and ecosystem (ongoing)

Secure job orchestration for molecular conformer generation, quantum/computational chemistry integrations (e.g., approved external or deployable engines), reaction and property prediction, materials/natural-products workflows, public/private data collaboration, and research APIs. Clearly expose approximation level, compute cost, and model domain.

## Release gates

Each phase requires pilot-user acceptance, data rights review, chemistry validation, security review, performance evidence, support readiness, and a rollback plan. Do not expand AI claims beyond the validated benchmark and operating domain.

# 15. Prioritization

| Priority | Scope |
| --- | --- |
| P0 | Chemist discovery, real instrument files, project/ELN, compound registry, structure editor/identifier conversions, raw data preservation, safety/provenance model, deterministic calculations, access controls, instrument and file-format audit. |
| P1 | UV-Vis/IR/1D NMR/MS workbench; manual and assisted analysis; image-to-structure with confirmation; sample lineage; citation search; pilot virtual experiments; university course and rubric workflow. |
| P2 | 2D NMR assignment support, chromatographic analysis, calibration/QC, advanced instrument integrations, collaboration, offline sync, multimodal candidate ranking. |
| P3 | Broad instrument vendor coverage, predictive chemistry, autonomous method optimization, full regulated LIMS/CDS scope, robotics, large-scale computational chemistry, multi-domain virtual lab. |

# 16. Success measures

## Product and research

Weekly active chemists by role; repeat use by project; workflow completion time compared with baseline.

Percentage of pilot files parsed with preserved metadata and no silent transformation; parser failure and manual correction rates.

Spectra analysis time, expert acceptance of candidate rankings, top-k recall on curated benchmark, calibration of confidence, and rate of unresolved/abstained cases.

Percentage of conclusions traceable to raw data, methods, calculations, source, and reviewer.

Structure recognition correction rate by image quality and chemical class.

## Education and operations

Student practical completion, safety compliance, repeat attempts, competency gains, lecturer time, and real-lab readiness feedback.

Instrument utilization, missed calibration, sample turnaround, QC exception detection, inventory stockout, and record completeness where integrations permit.

## Trust and reliability

Tenant isolation incidents, security findings, AI unsupported-claim rate, high-risk advice escalations, data export/deletion completion, uptime, job failure, and support response.

Metrics must be segmented by chemistry domain, data quality, instrument family, institution, and user expertise. Do not report a single accuracy figure without the benchmark definition and confidence interval.

# 17. Team and governance

Minimum core team for a serious pilot: product lead with chemistry domain; analytical/organic chemist(s); cheminformatics/scientific software engineer; full-stack engineer; data/ML engineer; UX designer; QA/test engineer; cloud/security support; and pilot laboratory/instrument partners. Bring in safety officer, institutional privacy/legal contact, and instrument vendor specialists as needed.

Establish a scientific advisory group with Nigerian university chemists and external analytical/cheminformatics experts. They approve scientific benchmark datasets, high-risk workflows, supported claims, and release gates. Every module needs a named scientific owner and software owner.

# 18. Key risks and mitigations

| Risk | Mitigation |
| --- | --- |
| Scope becomes too broad before a useful product ships. | Start with a chemist-selected specialty and actual instrument datasets; release usable workspace and interoperability first. |
| AI performs well on synthetic spectra but poorly on real instrument data. | Build real, diverse, expert-labeled benchmark sets; quantify domain shift; abstain on unsupported cases. |
| Proprietary formats block ingestion. | Map pilot instruments first; request vendor-supported exports/SDKs; preserve originals and document format coverage. |
| Users interpret candidate rank as confirmed identification. | UI language, uncertainty, alternatives, evidence conflicts, review status, training, and audit. |
| Safety advice is incomplete or stale. | Traceable SDS/SOP sources, update dates, local policy, expert review, and no AI authorization. |
| Unpublished data leakage damages research or IP. | No-training default, least privilege, encryption, region/options review, contractual controls, audit, and retention policies. |
| Institutions lack reliable connectivity or infrastructure. | Offline-capable notebooks/protocols, resumable uploads, low-bandwidth UI, and institution deployment options. |
| Regulatory expectations are overstated. | Avoid claims of validated/regulated system until QMS, validation, and applicable regulatory assessment are complete. |

# 19. Decisions required before build commitment

Which first pilot users and chemistry domains: analytical chemistry, organic synthesis, natural products, materials, or teaching labs?

Which 2–3 institutions and 3–5 instrument families can provide representative, permissioned data and feedback?

Will Chemcider offer institution-hosted/private deployments, cloud-only, or both from the first paid release?

What data ownership, retention, residency, model-provider, and research IP terms will pilot agreements guarantee?

Which capabilities require scientific advisory approval and human sign-off in each use case?

Which vendor formats and licensed reference databases are commercially permissible and technically accessible?

Who owns ongoing scientific validation, safety review, and support after pilot launch?

# 20. Acceptance criteria for the first production pilot

A pilot is ready when a chemist can:

Create a private project, register a compound, and verify/modify its structure and identifiers.

Record a sample and its lineage, method, instrument, operator, and conditions.

Upload a real supported instrument file and retain the original unchanged.

View, process, annotate, and export the data while recording each processing step and parameter.

Ask the AI to summarize or interpret data and receive evidence-linked statements, alternatives, caveats, and source/model provenance.

Correct or reject every AI assignment without losing the original suggestion or audit trail.

Create an ELN record with raw data, calculations, figures, references, and human review.

Share only with authorized collaborators and export/delete records under the agreed policy.

Reproduce a processed result from the original data and recorded software/configuration version.

Use a chemistry calculation or virtual experiment with validated scientific tests and clear simulation labeling.

A university pilot is ready when administrators can configure tenants, courses, staff/student roles, assignments, rubrics, data retention, and audit access, and when lecturers can review evidence rather than accept opaque AI scoring.

# 21. Final recommendation

Position Chemcider as a chemistry intelligence and laboratory platform, with the virtual laboratory as one major module. Begin with real chemist workflows and actual instrument data from Nigerian design partners. Build dependable structure handling, ELN/provenance, data interoperability, calculations, spectral visualization, human review, and privacy before promising autonomous structure elucidation or universal instrument support. Then add AI in bounded, evidence-linked steps and expand into education, QC operations, advanced instruments, and computational chemistry based on validated demand.

The project becomes disruptive by connecting capabilities chemists currently handle across disconnected tools—not by making an AI chatbot appear to know chemistry. Its strongest long-term asset will be a trusted, interoperable record that links molecular structures, samples, methods, raw measurements, analysis, decisions, and reproducible outcomes.

# Selected references and technical grounding

IUPAC digital standards and InChI: https://iupac.org/what-we-do/digital-standards/ and https://iupac.org/who-we-are/divisions/division-details/inchi/

IUPAC JCAMP-DX spectral exchange standards: https://github.com/IUPAC/JCAMP-DX

IUPAC FAIR Chemistry Cookbook and UV-Vis metadata: https://iupac.github.io/WFChemCookbook/usecases/uvvis_metadata.html

NIST Chemistry WebBook and evaluated IR spectra: https://webbook.nist.gov/chemistry/ and https://webbook.nist.gov/chemistry/coblentz/

PubChem PUG REST documentation: https://pubchem.ncbi.nlm.nih.gov/docs/pug-rest

RDKit documentation: https://www.rdkit.org/docs/

mzML community standard background: https://pmc.ncbi.nlm.nih.gov/articles/PMC3013463/

Recent NMR structure-elucidation research includes data-driven and tool-assisted approaches. These are promising but dataset-dependent; benchmark evidence should be assessed before deployment claims: https://pmc.ncbi.nlm.nih.gov/articles/PMC8635205/ and https://arxiv.org/abs/2607.19406

*This document is a product and engineering specification, not a safety procedure, regulatory compliance certification, or guarantee of instrument/vendor compatibility. Each scientific workflow must be validated for its intended use.*